##### Appendix 1: Arranger Checklist for IHMS

This checklist is provided to support Arrangers in planning, commissioning, reviewing, and acting on an Intrusive Hazardous Materials Survey (IHMS).

| 1. Early Planning and Commissioning |  |
| --- | --- |
| Confirm whether planned works involve refurbishment, demolition, or both. | ☐ |
| Confirm an IHMS is required due to the intrusive nature of the planned works. | ☐ |
| If possible, commission the IHMS early in the planning phase. | ☐ |
| Inform Site Owner/Occupier an IHMS will be commissioned prior to works. | ☐ |
| Identify key stakeholders who will require survey findings (PMs, designers, contractors) | ☐ |
| 2. Scope of Work and Information Package |  |
| - Complete the IHMS Scope of Work and Information Package (Appendix 2) | ☐ |
| Issue Scope of Work and information package to HMCs to provide quote. | ☐ |
| 3. Access, Restrictions and Planning | ☐ |
| - Agree survey boundaries and full access requirements with the HMC. | ☐ |
| Liaise with site owner/occupier to: - Identify any areas that may be difficult to access and discuss solutions early. - Confirm arrangements for isolations (electrical, mechanical, fire systems). - Confirm whether the building will be occupied during the survey and plan controls. | ☐ |
| Ensure any unavoidable access limitations are agreed, justified, and documented. | ☐ |
| Confirm that access restrictions are kept to an absolute minimum. | ☐ |
| 3. WHS and Asbestos-Related Work Planning |  |
| - Identify key WHS hazards associated with intrusive survey activities. | ☐ |
| Confirm any special licenses, air monitoring, decon. processes and reoccupation checks. | ☐ |
| 4. HMC Appointment and Competency |  |
| - Confirm the HMC has demonstrated competency (Appendix 3). | ☐ |
| Verify qualifications, training, and experience are appropriate for the site and scope. | ☐ |
| - 5. During the Survey |  |
| - Liaise with HMC to coordinate site access, permits and inductions and required isolations. - Respond promptly if the HMC advises that access has not been possible. - Facilitate further access where feasible to minimise survey limitations | ☐ |
| 6. Report Review and Quality Check |  |
| - Review the report against the agreed scope of work. | ☐ |
| Confirm there are no unagreed caveats or limitations | ☐ |
| Confirm all buildings, areas, and rooms have been assessed. | ☐ |
| Check for obvious discrepancies or inconsistencies. | ☐ |
| Consult with Operations BTS team if further hazardous materials guidance is required. | ☐ |
| If issues are identified: seek clarification and further verification from the HMC. | ☐ |
| 7. Close-Out and Next Steps |  |
| - Provide the report to relevant stakeholders (e.g., designers, contractors and agency reps) | ☐ |
| Use findings to plan and sequence hazardous materials removal or treatment. | ☐ |
| Retain the IHMS report and data as part of project records. | ☐ |